| name | display_name | standard_schema | standard_code | abstract | Αντιστοιχία |
| --- | --- | --- | --- | --- | --- |
| bouyoucos hydrometer method (sand_slit_clay). | Bouyoucos hydrometer method. | none. | none. | Hydrometer sedimentation method based on Stokes law for determination of sand, silt and clay fractions.. | Usda textural triangle |
| ph h2o 1:2 | pH in water 1:2. | none. | none. | Soil pH measured with pHmeter at a 1:2 soil:water ratio.. | iso ph 10390:2005 usda_ph-cacl2 |
| ec h2o 1:2 20c | EC in water 1:2 at 20C | none | none | Electrical conductivity measured with EC meter in a 1:2 soil:water suspension at 20°C.. | usda_ec |
| N_Total.Value_% | N_Total.Value_% | none | none | Modified Kjeldahl method for total nitrogen determination | Iso 11261:1995. |
| TOC.Value_% | TOC.Value_% | none | none | Acid fumigation pretreatment followed by dry combustion TOC analysis | iso 10694:1995 |
| CaCO3_Equivalent.Value_% | CaCO3_Equivalent.Value_% | none | none | Calcimeter back titration with HCl | iso 10693:1994 |